DuPont Performance Building Solutions

DuPont Experimental Station 356

200 Powder Mill Road

Wilmington, Delaware 19803

1-833-338-7668

building.dupont.com

SECTION 07 25 00 –

WEATHER BARRIERS

DuPont™ Tyvek® CommercialWrap® and Tyvek® CommercialWrap® D

| TIPS: To view non-printing Editor's Notes that provide guidance for editing, click on “Show/Hide” button (¶) on the Home menu ribbon. |  |
| --- | --- |

Revise this Section by deleting and inserting text to meet Project-specific requirements. Brackets [ ]; “AND/OR”, and “OR” have been used to indicate when a selection is required.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

DuPont de Nemours, Inc.'s Guide Specifications have been written as an aid to the professionally qualified Specifier and Design Professional. Use of Guideline Specification requires sole professional judgment and expertise of qualified Specifiers and Design Professionals to adapt information to specific needs for Building Owner and the Project, who coordinate with the construction document process, and meet each applicable building codes, regulations and laws. DUPONT EXPRESSLY DISCLAIMS ANY WARRANTY, EXPRESSED OR IMPLIED, INCLUDING THE WARRANTY OF MERCHANTABILITY OR FITNESS FOR PARTICULAR PURPOSE OF THIS PRODUCT FOR THE PROJECT.

Please contact your local DuPont Tyvek Specialist at 1-833-338-7668 or visit building.dupont.com.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

Revise subparagraphs below to suit Project.

          - Commercial weather barrier assemblies.

          - Flexible flashing.

          - Weather barrier flashing.

          - Fluid-applied flashing.

          - Weather barrier accessories.

          - Drainage material.

        - Related Requirements:

Refer to "Façade Considerations" in the applicable DuPont Tyvek "Mechanically Fastened Air and Water Barrier Installation Guidelines" for specific weather barrier installation information and related types of cladding. See information at https://www.dupont.com/building/resources.html.

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other sections. See Section 013100 "Project Management and Coordination" for preinstallation conference and LEED coordination meeting. See Section 014000 "Quality Requirements" for preconstruction testing and mockup requirements.

          - Section 042000 "Unit Masonry" for masonry ties and flashing installation.

          - Section 042613 "Masonry Veneer" for masonry ties and flashing installation.

          - Section 044200 "Exterior Stone Cladding" for stone masonry ties and flashing installation.

          - Section 044313.13 "Anchored Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 044313.16 "Adhered Stone Masonry Veneer" for stone masonry ties and flashing installation.

          - Section 047200 "Cast Stone Masonry" for stone masonry ties and flashing installation.

          - Section 072100 "Thermal Insulation" for installation of exterior insulation.

          - Section 072413 "Polymer-Based Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 072419 "Water-Drainage Exterior Insulation and Finish System (EIFS)" for installation of exterior insulation and finish system.

          - Section 074624 "Wood Shingle and Shake Siding" for installation of wood shingle and shake siding.

          - Section 074646 "Fiber-Cement Siding" for installation of fiber-cement board siding.

          - Section 092400 "Cement Plastering" for installation of stucco.

          - Section <Insert Section number and title> for <insert material or product to be installed and that requires coordination>.

      - DEFINITIONS

        - Weather Barrier: A combination of materials and accessories that do the following:

          - Prevent the accumulation of water as a water-resistive barrier.

          - Minimize the air leakage into or out of the building envelope as a continuous air barrier.

          - Provide sufficient water vapor transmission to enable drying as a vapor-permeable membrane.

        - Water-Resistive Barrier: A combination of materials and accessories that prevent the accumulation of water within the wall assembly per International Building Code Section 1403.2.

        - Continuous Air Barrier: The combination of interconnected materials, assemblies, and sealed joints and components of the building envelope that minimize air leakage into or out of the building envelope per ASHRAE 90.1 section 5.4.3.1.

        - Vapor Diffusion: A slow movement of individual water vapor molecules from regions of higher to lower water vapor concentration (higher to lower vapor pressure).

        - Vapor Permeable Membrane: The property of having a water-vapor permeance rating of 10 perms (575 ng/Pa x s x sq. m) or greater, when tested in accordance with the desiccant method using Procedure A of ASTM E96 per definition in International Building Code. Vapor permeable material permits the passage of moisture vapor through vapor diffusion.

      - PREINSTALLATION MEETINGS

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

          - Meet with Owner, Architect, Manufacturer's Certified Installer, [weather barrier manufacturer's designated field representative,] and installers of work that interfaces with or affects weather barrier.

          - Review methods and procedures related to weather barrier installation, including manufacturer's written instructions.

          - Review and finalize construction, and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Examine substrate conditions and finishes for compliance with requirements.

          - Review flashings, special weather barrier details, weather barrier penetrations, and condition of other construction that affects weather barrier.

          - Review weather barrier manufacturer's Project Registration and Observation process.

Retain two subparagraphs below if seeking LEED EQc: Construction Indoor Air Quality Management Plan (1 Point).

          - Review Construction Indoor Air Quality Management Plan "Moisture Protection for Absorbent Materials."

          - Review temporary protection requirements for weather barrier during and after installation.

      - ACTION SUBMITTALS

        - Product Data: For each type of product.

          - For weather barrier, include data on air and water-vapor permeance based on testing in accordance with referenced standards.

Sustainable design submittals listed in first paragraph below are only those submittals that would typically be required of Contractor for projects seeking LEED certification. Coordinate list of submittals required with Project Design Team's LEED consultant; with requirements of Section 018113.xx "Sustainable Design Requirements - XX," and, if applicable, with Project's Commissioning Authority (CxA). This Guideline Specification supports LEED v4 rating systems.

        - Sustainable Design Submittals:

Retain "Test Reports" Subparagraph below if seeking LEED Energy & Atmosphere (EA) Prerequisite; Fundamental Commissioning and Verification. Full envelope commissioning is not required, unless the Project team pursues LEED EAc, Enhanced Commissioning, Option 2.

Delete "Test Reports" Subparagraph below if the Owner is responsible for field quality control testing.

          - Test Reports: Envelope testing and verification of the following:

            - Water-Spray Test.

            - Air Infiltration Test.

            - Water Penetration Test.

          - Product Data: Including the following information:

            - Provide Environmental Product Declarations (EPDs)

Retain first subparagraph below if seeking LEED Indoor Environmental Quality (EQ) Credit: Low-Emitting Materials:

            - Provide SDS (formerly MSDS), third-party certifications, or product technical data confirming that systems meet or exceed emissions guidelines for volatile organic compounds (VOCs) and hazardous air pollutants (HAPs), as follows:

Retain one or more of three subparagraphs below in accordance with Project requirements. LEED v4 Healthcare and Schools requires that exterior applied adhesives, sealants, coatings, roofing, and waterproofing applied on-site be included in VOC content calculations.

              - Commercial weather barrier complies with California Department of Public Health (CDPH) Standard.

              - Adhesives and sealants wet-applied on-site are to meet/exceed VOC content requirements for wet-applied products and comply with SCAQMD Rule 1168.

              - Flashing systems comply with SCAQMD Rule 1168 on VOC limits.

        - Shop Drawings: Show details of weather barrier at terminations, openings, and penetrations. Show details of flexible flashing applications.

Retain "Preconstruction Laboratory Mockup Testing Submittals" Paragraph below if specifying Project-specific preconstruction testing in "Preconstruction Laboratory Mockups" Paragraph as Contractor's responsibility. Testing is at the expense of the Owner or Contractor. Only retain these tests if appropriate for the Project's size, scope, and budget.

Field testing of mockups is addressed in "Field Quality Control" Article in Part 3 "Execution."

        - Preconstruction Laboratory Mockup Testing Submittals:

          - [Engage] [Owner will engage] in a third-party testing program: Develop[ed] specifically for Project.

          - Test Reports: Prepared by a qualified preconstruction testing agency for each mockup test.

          - Record Drawings: As-built drawings of preconstruction laboratory mockups showing changes made during preconstruction laboratory mockup testing.

      - INFORMATIONAL SUBMITTALS

For documents mentioned in paragraphs below, see https://www.dupont.com/building/resources.html.

        - Evaluation Reports: For [weather barrier] [and] [flexible flashing], from ICC-ES.

        - Manufacturer's Instructions: For installation of each product specified.

        - Qualification Data: For Installer [and] [laboratory mockup testing agency] [field testing agency].

        - Sample Warranty: For manufacturer's warranty.

Retain "Reports" Paragraph below if required by "Preconstruction Laboratory Mockups" Paragraph below or "Field Quality Control" Paragraph in Part 3.

        - Reports: Field test and inspection reports.

        - Installer's weather barrier manufacturer-training certificate.

      - QUALITY ASSURANCE

DuPont Building Envelope Solutions Certified Installers receive classroom and on-site training on proper installation techniques and safety practices from a DuPont Tyvek Specialist, and must pass written and hands-on installation tests to become certified.

        - Installer Qualifications: A qualified firm that is certified by weather barrier system manufacturer to install manufacturer's product.

Retain "Laboratory Mockup Testing Agency Qualifications" Paragraph below if Project-specific preconstruction mockup testing is specified in "Preconstruction Laboratory Mockups" Paragraph.

        - Laboratory Mockup Testing Agency Qualifications: Qualified in accordance with ASTM E699 for testing indicated [and accredited by IAS or ILAC Mutual Recognition Arrangement in compliance with ISO/IEC 17025].

Retain "Mockups" Paragraph below if an in-place or a standalone mockup of the exterior wall construction will be required. Coordinate requirements for materials in other Sections that are also part of the exterior wall assembly. If preconstruction field or lab testing of exterior wall assemblies is required, coordinate mockup requirements with "Field Quality Control" Article in this Section and with Section 014000 "Quality Requirements."

Retain "Mockups" Paragraph below if preconstruction testing is required.

        - Mockups: Build mockups to set quality standards for materials and execution.

Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.

          - Build integrated mockups of exterior wall assembly [as indicated on Drawings] [150 sq. ft. (14 sq. m)] <Insert area or dimensions>, incorporating backup wall construction, external cladding, window, storefront, door frame and sill, insulation, ties and other penetrations, and flashing to demonstrate surface preparation, crack and joint treatment, application of weather barriers, and sealing of gaps, terminations, and penetrations of air-barrier assembly.

            - Include junction with roofing membrane [building corner condition,] [and] [foundation wall intersection] [fenestration and wall interface].

            - If Architect determines mockups do not comply with requirements, reconstruct mockups and apply weather barrier until mockups are approved.

          - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

          - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article. See editing notes in "Warranty" Article for additional information.

        - Manufacturer's Field Service: Register Project with weather barrier manufacturer prior to installation of weather barrier and comply with weather barrier manufacturer's Project registration and observation process.

Typically, delete "Preconstruction Laboratory Mockups" Paragraph below. Include only if Project is large, complex, or has atypical performance requirements. If retaining Paragraph, consult manufacturers and testing agencies for guidance on appropriate requirements for Project.

        - Preconstruction Laboratory Mockups:

          - Preconstruction Testing Service: [Owner will engage] [Engage] a qualified testing agency to perform testing on preconstruction laboratory mockups.

          - Build preconstruction laboratory mockups at testing agency facility; use personnel, products, and methods of construction to be used at Project site.

Usually, indicate size and other details of preconstruction laboratory mockups on Drawings. ASTM E2099 includes recommendations for minimum sizes and configurations.

            - Size and Configuration: As indicated on Drawings.

Retain first subparagraph below if required for Project.

            - Notify Architect [seven] <Insert number> days in advance of the dates and times when preconstruction laboratory mockups will be constructed and tested.

Revise example test methods and sequence of tests in "Preconstruction Laboratory Mockup Testing Program" Subparagraph below to suit Project. Coordinate with performance requirements listed in "Performance Requirements" Article in Part 2. See AAMA 501 and ASTM E2099, and consult testing laboratories' default testing methods and sequences. Coordinate test results with performance requirements for fenestration products.

          - Preconstruction Laboratory Mockup Testing Program: Test preconstruction laboratory mockups in accordance with requirements in "Performance Requirements" Article. Perform following tests on base wall to conform to ASTM E2357

          - Section A2.2.1.2 Specimen 2 for penetrated assemblies.

Retain one of first two subparagraphs below to evaluate water-resistance performance of assembly. Within selected subparagraph (ASTM E331 or AAMA 501.1), select a pressure option or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using the corresponding testing standard. Test method duration listed is a common or standard timeframe. See fenestration manufacturer for pressure-rating limits.

            - Water Penetration by Uniform Static Air Pressure: [2.86 lb/sq. ft. (137 Pa)] [12.5 lb/sq. ft. (575 Pa)] pressure for [15] <Insert duration time>-minute duration tested in accordance with ASTM E331.

            - AAMA 501.1 Test Parameters: [2.86 lb/sq. ft. (137 Pa)] [12.5 lb/sq. ft. (575 Pa)] <Insert pressure> pressure for [15] <Insert duration time>-minute duration.

Retain "ASTM E330 Test Parameters" Subparagraph below to evaluate structural air pressure performance. Select pressure option in subparagraph, or provide another pressure as required to suit Project requirements. Pressure options below represent standard (first option) and high pressure (second option) using the corresponding testing standard. Duration listed is a common or standard timeframe for the test method. See fenestration manufacturer for pressure rating limits.

            - ASTM E330 Test Parameters: [30 lb/sq. ft. (1440 Pa)] [75 lb/sq. ft. (3500 Pa)] <Insert pressure> pressure for [10-second] <Insert duration time> duration.

If including performance of AAMA 501.5, retain "AAMA 501.5 Test Parameters" Subparagraph below. Also include a repeated test of water-resistance performance or structural air pressure performance of assembly to evaluate and maintain required performance after thermal cycling. Retain one of two cycle options in "Number of Cycles" Subparagraph below, which represent standard number (first option) and high number (second option) of cycles using AAMA 501.5.

            - AAMA 501.5 Test Parameters:

              - Cycle Temperature Range: 0 to 180 deg F (minus 18 to 82 deg C).

              - Number of Cycles: [3] [28] <Insert number of cycles>.

              - Repeat [ASTM E331] [AAMA 501] [ASTM E283] test after thermal cycling.

Edit "Test Results" Subparagraph below based on individual or collective results of above tests as required to meet system performance criteria.

            - Test Results: Laboratory mockup passes if the following results are achieved by the above tests [individually] [collectively]:

The following subparagraphs are examples only. Retain one or more of the following test results or include additional test results to suit Project requirements.

              - No water penetration.

Include definition of structural failure to suit Project requirements.

              - No structural failure.

Include definition of expansion or contraction failure to suit Project requirements.

              - No expansion or contraction failures.

              - <Insert test results>.

Retain "DuPont Building Knowledge Center Quality Assurance Program" Paragraph below if seeking DuPont 15-Year Limited Product and Labor Warranty only. All requirements below must be satisfied. Additionally, retain "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article. See editing notes in "Warranty" Article for more information. For specific details on DuPont Tyvek Building Envelope Solutions Product warranties, see https://www.dupont.com/building/resources.html.

        - DuPont Building Knowledge Center Quality Assurance Program: Design review and quality assurance program for DuPont 15-Year Product & Labor Warranty eligibility.

          - Eligibility:

Refer to the criteria in the “DuPont Building Envelope Solutions Products 15-Year Limited Warranty for Wood-Framed Multi-Family, Commercial and High Performance Building of any Height” warranty document for more information on project classification.

            - Ensure project meets the definitions and criteria of a [wood-framed multi-family/light commercial] [or] [commercial and high-performance building].

          - Design Review:

            - Provide technical drawings and details for all above-grade exterior walls involving the use of DuPont Building Envelope Solutions Products to be reviewed by DuPont Building Envelope Specialist or weather barrier manufacturer’s designated representative.

          - Preconstruction Meetings:

            - Ensure that DuPont Building Envelope Specialist and/or weather barrier manufacturer's designated field representative are present at all preconstruction and mock wall meetings.

            - Request installer training as needed by DuPont Building Envelope Specialist or weather barrier manufacturer’s field representative.

          - Field Observation Meetings:

If selecting number of field observation meetings, ensure that minimum 2 are completed.

            - During construction process and prior to façade/cladding installation, contractor and/or subcontractor to coordinate [2] <insert number of field observation meetings> field observation meetings with DuPont Building Envelope Specialist or weather barrier manufacturer's designated field representative.

      - DELIVERY, STORAGE, AND HANDLING

        - Do not store near heat source or open flame.

      - WARRANTY

Manufacturers' warranties vary; some offer a product warranty, others a product and labor warranty. While not customary, a product and labor warranty can include costs of exposing weather barrier or restoring affected construction. A product and labor warranty example is provided below as "Manufacturer's Product Warranty" Paragraph. For specific details on DuPont Tyvek Building Envelope Solutions Product warranties, see https://www.dupont.com/building/resources.html.

Retain only one of two manufacturer warranty paragraphs below.

"Manufacturer's Product Warranty" Paragraph below covers repair or replacement of defective weather barrier only and does not cover repair and replacement of other damaged materials.

If retaining "Manufacturer's Product Warranty" Paragraph, manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles may also be deleted, if Project does not require that level of support.

        - Manufacturer's Product Warranty: To repair or replace weather barrier product that fails in materials within specified warranty period.

Verify available warranties and warranty periods. DuPont Building Envelope Solutions Products provide warranties to Builders, General Contractors, or Professional Installers.

          - Warranty Period: 10 years from date of purchase.

"Manufacturer's Product and Labor Warranty" Paragraph below covers replacement of defective weather barrier product and reasonable construction repair costs to correct problems that arise solely out of failure of manufactured weather barrier product. If retaining paragraph, also retain manufacturer's field representative requirements in "Preinstallation Meetings," "Quality Assurance," and "Field Quality Control" articles. Product and labor warranties are subject to use of manufacturer's recommended installation methods, required preconstruction meetings, and observation visits during installation along with required submittal and post-installation documentation process.

        - Manufacturer's Product and Labor Warranty: Manufacturer agrees to repair or replace weather barrier that fails in materials within specified warranty period, including removal and replacement of affected construction up to manufacturer's limits.

Select “15 years from date of purchase” in “Warranty Period” Subparagraph below ONLY if project meets eligibility criteria for DuPont 15-Year Limited Product and Labor Warranty. See “Quality Assurance” Article for DuPont Building Knowledge Center Quality Assurance Program requirements.

          - Warranty Period: [10 years from date of purchase] [or] [15 years from date of purchase].

- PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

      - MANUFACTURERS

        - Source Limitations: Obtain weather barrier assembly components, including [weather barrier flashing] [and] [foam insulation] <Insert products> from [same manufacturer as weather barrier] [or] [manufacturer approved by weather barrier manufacturer].

      - PERFORMANCE REQUIREMENTS

High-performance installations are defined as building envelope design requirements that exceed ASTM E1677, 65 mph (104.6 km/h) equivalent structural load, and 50 mph/6.24psf (80 km/h) equivalent wind-driven rainwater infiltration resistance. Certain construction types are more appropriate for high-performance weather barrier products and installation methods.

"Low-rise construction" can be characterized by performance, utilizing ASTM E1677 as a reference point. Low-rise construction should be limited to building envelope design requirements that do not exceed ASTM E1677, 65 mph (100 km/h) equivalent structural load, and 50 mph/6.24psf (80 km/h) equivalent wind-driven rainwater infiltration resistance, and utilize primarily wood-framed walls.

Refer to White Paper "DuPont Tyvek Commercial Air Barrier Assemblies - ASTM E1677 vs. ASTM E2357" by Maria Spinu, Ph.D; see https://www.dupont.com/building/resources.html.

        - General Performance: Installed weather barrier and accessories shall withstand specified wind pressures, liquid water penetration, and water vapor pressures without failure due to defective manufacture of products.

Retain "High-Performance Installations" Paragraph below for buildings 85 ft. (26 m) or more in height or for buildings of any height that require a high-performance weather barrier assembly.

        - High-Performance Installations:

          - For installation with one of the following building envelope performance or structural characteristics:

            - Exceeding 65 mph (100 km/h) equivalent structural load.

            - Exceeding 50 mph/6.24 psf (80 km/h)equivalent wind-driven rainwater infiltration.

            - Buildings of 85 ft. (26 m) or more total height above grade plane, as defined in the International Building Code.

            - Construction with gypsum or cement-based exterior sheathing.

            - Non-wood based primary structure such as steel, light gauge steel, masonry, or concrete

            - Wood based primary structure with performance criteria meeting criteria a, b and/or c above

      - WEATHER BARRIER

        - Commercial Building Wrap: ASTM E2357 passed, ABAA (Air Barrier Association of America) evaluated air barrier assembly, and assembly water resistance per ASTM E331; with flame-spread and smoke-developed indexes of less than 25 and 450, respectively, when tested in accordance with ASTM E84; UV stabilized for nine-month exposure; and acceptable to authorities having jurisdiction.

DuPont's "Tyvek CommercialWrap" is engineered to provide excellent performance as an air and water barrier, and offers the added strength and durability needed in commercial construction. It offers nine months of UV resistance and the ideal balance of air and water protection and vapor permeability.

DuPont's "Tyvek CommercialWrap D" is a durable air and water barrier that offers a specially engineered surface texture designed to provide superior water drainage and durability under a variety of facades in climates that may require additional drainage. It offers high tear and wind load resistance, nine months of UV resistance, and the ideal balance of air and water protection and vapor permeability.

Typically. retain "Tyvek CommercialWrap" option in "Basis-of-Design Product" Subparagraph below. Retain "Tyvek CommercialWrap D" option when weather barrier is required to provide water drainage behind cladding or exterior insulation. If a two-layer weather barrier is required for enhanced drainage and protection, retain all three options below, and specify drainage product order/function in "Drainability" Subparagraph.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Retain “Tyvek CommercialWrap” or “Tyvek CommercialWrap D” options in “Basis-of-Design Product” Subparagraph below when project eligibility for DuPont 15-Year Limited Product and Labor Warranty is desired. Use of other manufacturer’s products in this application will void this specific warranty eligibility.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; [Tyvek CommercialWrap] [and] [Tyvek CommercialWrap D] or comparable product by one of the following:

            - <Insert manufacturer's name>.

Retain one or more of three "System Description" Subparagraphs below. Multiple systems may be required depending on exterior finish systems used. If specifying more than one system, be sure to clearly indicate location and extent of each system on Drawings.

Retain "System Description, Single-Layer Weather Barrier" Subparagraph below when specifying "Tyvek CommercialWrap" and where no enhanced drainage is required behind cladding or exterior insulation.

          - System Description, Single-Layer Weather Barrier: Single-layer weather barrier, including flashing and sealing of penetrations and seams.

Retain "System Description, Single-Layer Drainable" Subparagraph below when specifying "Tyvek CommercialWrap D" and where drainage is required behind cladding or exterior insulation.

          - System Description, Single-Layer Drainable: Single-layer weather barrier with integral drainage, including flashing and sealing of penetrations and seams.

Retain "System Description, Double-Layer Drainable " Subparagraph below when specifying "Tyvek CommercialWrap" and "Tyvek CommercialWrap D" as parts of a double-layer system and where drainage is required behind claddings such as stucco, adhered masonry, and installation methods utilizing a lath.

          - System Description, Double-Layer Drainable: Double-layer weather barrier, including flashing and sealing of penetrations and seams, arranged as follows:

Specify either DuPont's "Tyvek CommercialWrap" or "Tyvek CommercialWrap D" as the primary layer. It makes no difference in the performance of the system which is selected as the primary layer. However, it is more efficient from a construction perspective to use the commercial wrap product that is being used on the majority of the exterior surface as the primary layer.

Retain first option in "Primary Layer" Subparagraph below when specifying "Tyvek CommercialWrap D" as primary layer; retain second option when specifying "Tyvek CommercialWrap" as primary layer.

            - Primary Layer: Commercial building wrap [with] [without] integral drainage installed closest to building interior.

Retain first option in "Secondary Layer" Subparagraph below when specifying DuPont's "Tyvek CommercialWrap D" as secondary layer; retain second option when specifying "Tyvek CommercialWrap" as secondary layer.

            - Secondary Layer: Commercial building wrap [with] [without] integral drainage installed over primary layer.

Retain "Drainability" Subparagraph below only when DuPont's "Tyvek CommercialWrap" or “Tyvek CommercialWrap D” are part of the weather barrier system; otherwise, delete.

In “Drainability” Subparagraph below, select appropriate option based on product used. “DuPont Tyvek CommercialWrap” has a drainability of 90% or greater per ASTM E2273, while “DuPont Tyvek CommercialWrap D” has a drainability of 98% or greater per ASTM E2273.

          - Drainability:

            - [90 percent or greater when tested in accordance with ASTM E2273] [or] [98 percent or greater when tested in accordance with ASTM E2273]

Air-barrier performance can be shown at multiple levels: the product, assembly, and whole building level. Product general air-barrier properties are determined by ASTM E2178, where measured air is forced through the field of air-barrier membrane. Assembly air-barrier performance is measured through ASTM E2357, where membrane and accessories are pressurized and measured on various 8 by 8 ft. (2438 by 2438 mm) test walls with openings, penetrations, and seams representative of actual construction methods.

ASTM E2357 is far more stringent than requirements in ASTM E1677 assembly test, which allows for 50 percent more air infiltration than limit for air barriers in many energy codes. Results of ASTM E2357 can also be third-party evaluated via the ABAA. Whole-building air performance can be verified through ASTM E779 and should be coordinated with "Field Quality Control Testing" Paragraph in Part 3, as well as Section 014000 "Quality Requirements."

Product air-permeance units can be shown in many ways, such as a value of 0.001 cfm/sq. ft. at 0.3 inch wc, which is equal to the value specified in "Air Permeance, Product" Subparagraph below. Only the unit of measure is different. If needed, the value of 0.001 cfm/sq. ft. at 0.3 inch wc can be used instead of that indicated in "Air Permeance, Product" Subparagraph.

Retain first option in "Air Permeance, Product" Subparagraph below for DuPont's "Tyvek CommercialWrap"; retain second option for "Tyvek CommercialWrap D."

          - Air Permeance, Product: Not more than [0.001 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.005 L/s x sq. m at 75 Pa)] [0.004 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.02 L/s x sq. m at 75 Pa)] when tested in accordance with ASTM E2178.

          - Air Permeance, Assembly: Not more than 0.04 cfm/sq. ft. at 1.57 lbf/sq. ft. (0.2 L/s x sq. m at 75 PA) when tested in accordance with ASTM E 2357 and evaluated by ABAA.

Water-resistance performance can be shown at multiple levels: the product, assembly, and field test. Product must resist water penetration through membrane from hydrostatic pressure from water columns using AATTC 127.

Assembly water penetration can use the same lab-based representative construction assemblies as described above for ASTM E2357, and then apply calibrated water spray on the depressurized wall to draw water into vulnerable joints using ASTM E331. Field or project water testing can also be performed to mirror lab assembly using ASTM E1105.

Coordinate ASTM E1105 requirements with ASTM E331 values in "Water Penetration Resistance, Product" Subparagraph below, and with "Water Penetration" Subparagraph in "Field Quality Control Testing" Paragraph in Part 3.

          - Water Penetration Resistance, Product: Hydrostatic head resistance greater than 22 inches (55 cm) in accordance with AATCC 127.

Coordinate with design pressure to be specified for window systems. Specified value selected below should not be greater than pressure specified for window systems.

          - Water Penetration Resistance, Assembly: Assembly wall specimen described in ASTM E2357 to water resistance in accordance with ASTM E331 to [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.4 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (575 Pa)] [15 lbf/sq. ft. (718 Pa)].Select one of two "Water-Vapor Permeance" subparagraphs below based on product used in single-layer system or as the primary layer used in double-layer system.

Retain first Water-Vapor Permeance" Subparagraph below if specifying DuPont's "CommercialWrap" in single-layer system or as primary layer used in double-layer system.

          - Water-Vapor Permeance: Not less than 23 perms (1300 ng/Pa x s x sq. m) per ASTM E96/E96M, Desiccant Method (Procedure A) or not less than 28 perms (1600 ng/Pa x s x sq. m) per ASTM E96/E96M, Water Method (Procedure B).

Retain "Water-Vapor Permeance" Subparagraph below if specifying DuPont's "CommercialWrap D" in single-layer system or as primary layer used in double-layer system.

          - Water-Vapor Permeance: Not less than 30 perms (1700 ng/Pa x s x sq. m) per ASTM E96/E96M, Water Method (Procedure B).

          - Allowable UV Exposure Time: Not less than 9 months (270 days) when tested in accordance with ASTM G155 (Accelerated Weathering).

Retain "Flame Propagation Test" Subparagraph below if required. For NFPA 285 compliant assemblies using DuPont's "Tyvek Commercial Air & Water Barriers," see https://www.dupont.com/building/resources.html.

Coordinate with Division 01 General Requirements for assembly and building compliance.

          - Flame Propagation Test: Materials and construction shall be as tested in accordance with NFPA 285.

          - Heat and Visible Smoke Release Rates: Maximum rates in accordance with NFPA 285.

            - Peak Heat Release: 13,217 Btu/sq. ft. (150 kW/sq. m).

            - Total Heat Release: 1762 Btu/sq. ft. (20 MJ/sq. m).

            - Effective Heat of Combustion: 7744 Btu/lb (18 MJ/kg).

Retain subparagraph below if required for LEED credits.

          - Weather barrier system to have a VOC content of 30 g/L or less.

      - WEATHER BARRIER FLASHING

Flashing adhesives are typically made from modified-asphalt (bitumen) or butyl-rubber compounds, and with a release liner. Accelerated weathering with UV light, heat, and moisture degrades flashings with asphalt adhesives significantly more than those with DuPont’s butyl-based adhesives.

IMPORTANT Note: Appropriate flashing products are dependent on building type and construction conditions. DELETE flashing products that are unnecessary and inappropriate for specific project or building performance criteria. Refer to the applicable DuPont Tyvek Mechanically Fastened Air and Water Barrier Installation Guidelines for more information on allowable flashing products based on application.

Conformable flashing is flexible and has butyl adhesive on one side. Conformable flashing can be stretched to seamlessly cover complex shapes like round-top or custom-shaped windows, 3-D sill protection, and wall interruptions such as dryer vents and hose bibs.

        - Conformable Weather Barrier Flashing: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; DuPont™ FlexWrap™ or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - Conformability: Able to create a seamless sill pan extending up the jambs without cuts, patches, or fasteners.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A (without primer use).

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Retain “Conformable Weather Barrier Flashing for Sealing Penetrations” Paragraph only where allowable based on building performance criteria. Refer to applicable DuPont Tyvek Mechanically Fastened Air and Water Barrier Installation Guidelines for more information on allowable flashing products.

        - Conformable Weather Barrier Flashing for Sealing Penetrations: Composite flashing material composed of micro-creped, polyethylene laminate with a 100 percent butyl-based adhesive layer; AAMA 711 Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; DuPont™ FlexWrap™ EZ or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - Conformability: Able to create a continuous watertight seal around penetrations from weather barrier to penetration without cuts, patches, or fasteners.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E 331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 degrees F (minus 4 deg C) as Class A (without primer use).

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Strip flashing is flexible and has butyl adhesive on one side for DuPont's "StraightFlash" or “DuPont Flashing Tape”, which are typically used at jambs and heads of rectangular windows. DuPont “VersaFlange" has butyl adhesive on portions of two sides of flashing and is typically used at brick-mold windows and doors.

“DuPont Flashing Tape” and/or “DuPont VersaFlange” to be specified for use only where allowable based on building performance criteria. Refer to applicable DuPont Tyvek "Mechanically Fastened Air and Water Barrier Installation Guidelines for more information on allowable flashing products.

        - Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with 100 percent butyl-based, dual-sided, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for seven days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; [DuPont™ StraightFlash™] or comparable product by one of the following:

            - <Insert manufacturer's name>.

ASTM E331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 15 psf (720 Pa) per ASTM E331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Retain “Strip Flashing” Paragraph only where allowable based on building performance criteria. Refer to applicable DuPont Tyvek Mechanically Fastened Air and Water Barrier Installation Guidelines for more information on allowable flashing products.

        - Strip Flashing: Composite flashing material composed of spunbonded polyethylene laminate with 100 percent butyl-based, dual-sided, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; DuPont™ VersaFlange™ or comparable product by one of the following:

            - <Insert manufacturer's name>.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 6.24 psf (300 Pa) per ASTM E 331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

Retain “Strip Flashing” Paragraph only where allowable based on building performance criteria. Refer to applicable DuPont Tyvek Mechanically Fastened Air and Water Barrier Installation Guidelines for more information on allowable flashing products.

        - Strip Flashing: Composite flashing material composed of polypropylene laminate with 100 percent butyl-based, adhesive layer; AAMA 711, Class A (no primer), Level 3 thermal exposure, 176 deg F (80 deg C) for 7 days.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont Safety & Construction: DuPont de Nemours, Inc.; DuPont™ Flashing Tape or comparable product by one of the following:

            - <Insert manufacturer's name>.

ASTM E 331 applies to water penetration testing of exterior windows, skylights, doors, and curtain walls.

          - Water Penetration: No leakage at 6.24 psf (300 Pa) per ASTM E 331.

          - Low Temperature Adhesion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm) at 25 deg F (minus 4 deg C) as Class A without primer use.

          - Adhesion After Water Immersion: Exceeds minimum value of 1.5 lb./in. (0.26N/mm), after AAMA 800, Sections 2.4.1.3.1/2.4.1.4.3, Test B.

      - FLUID-APPLIED FLASHING

Use this article for situations where flashing details are very complex or where there are many different types of flashing substrates. Choose DuPont products as proprietary selections to optimize basis of design for building envelope. Otherwise, identify qualifying water-resistive barriers, ensuring compatibility with all accessory products.

        - Fluid-Applied Flashing: Trowel or brush applied, non-water soluble, single component, silyl terminated polyether technology (STPE), vapor permeable, flashing material.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; Tyvek Fluid Applied Flashing & Joint Compound+ or comparable product by one of the following:

            - <Insert manufacturer's name>.

          - VOC Content: ASTM C1250, less than 2 percent by weight and between 25 to 30 g/L.

          - Water Vapor Transmission: ASTM E96, Method B, greater than 20 perms (1100 ng/Pa x s x sq. m) at 25 mils (0.635 mm) thick.

          - Minimum Tensile Strength: ASTM D412, 165 lb/sq. ft. (1140 kPa).

          - Minimum Elongation at Break: ASTM D412; 380 percent.

      - WEATHER BARRIER ACCESSORIES

        - Building Wrap Tape: Pressure-sensitive plastic tape recommended by weather barrier manufacturer for sealing joints and penetrations in commercial building wrap.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; Tyvek® Tape or comparable product.

        - Closed-Cell Polyurethane Foam Insulation: Low-pressure, low-expansion, single-component polyurethane foam, with maximum flame-spread and smoke-developed indexes of 15 and 25, respectively, per ASTM E84.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; DuPont™ Great Stuff Pro or comparable product.

Retain second option in "Fasteners with Self-Gasketing Washers" Paragraph below for high-performance applications.

        - Fasteners with Self-Gasketing Washers: Commercial building wrap manufacturer's recommended pneumatically or hand-applied fasteners with [1-inch- (25-mm)] [2-inch- (50-mm-)] diameter, high-density polyethylene cap washers with UV inhibitors.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

          - Basis-of-Design Product: Subject to compliance with requirements, provide DuPont de Nemours, Inc.; Tyvek® Wrap Caps or comparable product.

        - Primer for Flashings: Synthetic rubber-based product; spray applied. Strengthen adhesive bond at low temperature applications between weather products such as self-adhered flashing products, commercial building wraps, and common building sheathing materials.

          - Peel Adhesion Test: Passes in accordance with ASTM D3330, Test Method F, for the following.

            - Peel Angles: 0, 25, 72, and 180 degrees.

            - Substrates: Concrete masonry units (CMUs), exterior gypsum sheathing, oriented strand board (OSB), aluminum, and vinyl.

          - Chemical Compatibility: Pass; AAMA 713.

          - Flame Spread Index: 5; ASTM E84.

          - Smoke Development Index: 0; ASTM E84.

- EXECUTION

      - EXAMINATION

        - Examine substrates, with Installer present, for compliance with requirements.

        - Verify that substrate and surface conditions are in accordance with commercial weather barrier manufacturer recommendations prior to installation.

          - Verify that rough sill framing for doors and windows is sloped downwards towards the exterior and is level across width of the opening.

        - Verify that surfaces to receive weather barrier flashing are clean, dry, and free of frost.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Direct water onto an acceptable weather barrier drainage plane with an unobstructed path to exterior of wall.

          - Provide a drainage path for water intrusion through window and door attachment system that collects at window and door sills and directs water to the exterior or weather barrier.

      - COMMERCIAL BUILDING WRAP INSTALLATION

        - General: Comply with weather barrier manufacturer's written installation guidelines and warranty requirements.

        - Cover exposed exterior surface of sheathing with weather barrier securely fastened to framing immediately after sheathing is installed.

          - Maintain continuity of air and water barrier assemblies.

          - Start weather barrier installation at a building corner, leaving 12 inches (300 mm) of weather barrier extended beyond corner to overlap.

          - Install weather barrier horizontally starting at lower portion of wall surface.

          - Provide minimum 6 inches (150 mm) overlap at horizontal- and vertical-wrap seams in a shingle manner to maintain continuous downward drainage plane and air and water barrier.

        - Seams: Seal seams with building wrap tape per manufacturer's recommended installation instructions.

          - Shiplap horizontal seams in weather barrier to facilitate proper drainage.

        - Fasteners: Use weather barrier manufacturer's recommended fasteners to secure weather barrier and install fasteners according to weather barrier manufacturer's installation guidelines.

          - Do not use temporary fasteners to permanently attach weather barrier.

          - Do not place fasteners with gasketing washers where weather barrier flashing will be installed.

          - Install fasteners with gasketing washers through flashing where recommended by manufacturer.

        - Openings: Completely cover openings with weather barrier, then cut weather barrier membrane to openings in accordance with weather barrier manufacturer's installation guidelines.

          - Provide head and jamb flaps and seam overlaps to maintain continuous drainage.

          - Repair damage to weather barrier using method recommended by weather barrier manufacturer.

          - Install flashing in accordance with weather barrier manufacturer's installation guidelines.

      - WEATHER BARRIER FLASHING INSTALLATION

        - Installation: Remove wrinkles and bubbles, reposition weather barrier as necessary to produce a uniform, smooth surface.

          - Ensure that ambient and substrate surface temperatures are acceptable in accordance with manufacturer instructions and recommendations.

          - Wipe surfaces to remove moisture, dirt, grease and other debris that could interfere with adhesion.

          - Apply weather barrier manufacturer's recommended primer over concrete, masonry, and glass-mat gypsum wall sheathing substrates to receive weather barrier flashing.

          - Lap weather barrier flashing a minimum of 2 inches (50 mm) onto weather barrier.

          - Apply pressure over entire surface using roller or firm hand pressure

        - Rough Openings: Shiplap flashing with weather barrier in a shingle manner to maintain a continuous downward drainage plane and air and water barrier in accordance with manufacturer's written instructions.

Retain first option in first subparagraph below for stud framing that is nominally 4 inches (100 mm) thick. Retain second option for stud framing that is nominally 6 inches (150 mm) thick.

          - Apply [6-inch- (150-mm-)] [9-inch- (230-mm-)] wide conformable weather barrier flashing at door and window sills.

          - Ensure that sill flashing does not slope to the interior.

          - Install backer rod in joint between frame of opening product and flashed rough opening on the interior.

          - Apply sealant or closed-cell polyurethane foam insulation around entire opening/fenestration product to create air seal around interior perimeter of window openings in accordance with weather barrier manufacturer's instructions.

Weather barrier flashing selection and application methods are specific to type of opening product and rough opening configuration. When building envelope design requirements exceed ASTM E1677, 65 mph equivalent structural load, and 50 mph/6.24 psf equivalent wind-driven rainwater infiltration resistance, use DuPont's butyl-based "StraightFlash" and wrap cap screws in subparagraphs below.

          - Around door and window openings, apply butyl-based flashing to flaps of weather barrier.

          - Use strip flashing with wrap cap screws to secure head flap of the windows.

Retain "Penetrations" Paragraph below for high-performance installations where performance requirements exceed those established by ASTM E1677. Otherwise, delete this paragraph. Coordinate with "Performance Requirements" Article in Part 2.

        - Penetrations: Apply weather barrier manufacturer's recommended weather barrier flashing patches behind fastening plates, such as brick-tie base plates, metal-flashing clips, and metal channels.

          - Seal weather barrier around each penetration with weather barrier manufacturer's recommended self-adhered flashing product or sealant. Integrate products with flanges into the weather barrier.

        - Terminations: Provide minimum 2 inches (50 mm) overlap using strip flashing on adjoining roof and base of wall systems to maintain continuous downward drainage plane.

          - Secure weather barrier with fasteners and weather barrier flashing.

Retain "Fluid-Applied Flashing Installation" Article below for DuPont's "Tyvek Fluid Applied Flashing & Joint Compound+" used in conjunction with "CommercialWrap" or "CommercialWrap D."

      - FLUID-APPLIED FLASHING INSTALLATION

        - General: Before installing fluid-applied flashing, do the following:

          - Ensure drainage path is not blocked or disrupted. Do not install on walls that do not feature a continuous path for moisture drainage. Blocked or disrupted paths for drainage can result in excess moisture buildup in wall cavity. Do not install below grade.

          - Remove surface dust, dirt, and loose mortar.

          - Verify that surface is free of grease and other contaminants and that surface is smooth.

          - Fill joints in CMUs and voids in cast-in-place concrete with trowel-applied fluid-applied flashing to ensure surface is flush and smooth.

          - Allow masonry mortar and cast-in-place concrete a minimum of 24 hours to cure before installing fluid-applied flashing.

        - Fluid-Applied Flashing Installation: Using a trowel or brush, apply fluid-applied flashing around perimeter of recessed window and door openings to a minimum thickness of 25 mils (0.635 mm).

          - Extend flashing a minimum of 2 inches (50 mm) onto top of transition membrane.

          - Inspect for gaps and pinholes in fluid-applied flashing and apply additional coats until no gaps and pinholes appear.

          - Joint Applications: Using a trowel or a brush, fill cracks and voids up to 1/4 inch (6 mm) in width.

            - For joints and cracks between 1/4 and 1/2 inch (6 and 12 mm) wide, cover first with mesh tape.

            - For joints and cracks between 1/2 and 1 inch (12 and 24 mm) wide, cover first with butyl-based strip flashing.

            - Apply a bead, then trowel smooth.

            - Seam coverage should be a minimum of 2 inches (50 mm) wide and 15 to 20 mils (0.38 to 0.51 mm) thick.

            - Inspect for gaps and pinholes in fluid-applied flashing and apply additional coats until no gaps and pinholes appear.

      - DRAINAGE MATERIAL INSTALLATION

        - Install drainage material with grooves or channels running vertically in compliance with manufacturer's written instructions.

Retain "Field Quality Control" Article below for testing of weather barrier during installation or for testing of field mockups. Note that services are not provided by weather barrier manufacturer or designated field representative.

      - FIELD QUALITY CONTROL

Retain "Manufacturer's Field Service" Paragraph below if retaining "Manufacturer's Product and Labor Warranty" Paragraph in "Warranty" Article in Part 1. See editing notes in "Warranty" Article for additional information. Testing agency is at expense of Owner or Contractor.

        - Manufacturer's Field Service: Engage a factory-authorized service representative to train installers and observe subject test-wall areas and installations.

        - Testing Agency: [Owner will engage] [Engage] a qualified third-party testing agency to perform tests and inspections.

        - Test Area: Perform tests on [one bay at least 30 ft. (9.15 m), by one story] [representative areas of structural-sealant-glazed curtain walls] [mockups] <Insert requirements>.

        - Field Quality Control Testing: Perform the following test on [representative areas of structural-sealant-glazed curtain walls] [mockups] <Insert requirements>.

In "Air Infiltration Whole Building" Subparagraph below, first option meets minimum code requirements in accordance with ASHRAE 90.1. Second and third options are often required by United States Army Corps of Engineers and by some state building codes. Consult local authorities having jurisdiction to verify air-infiltration requirements before editing.

          - Air Infiltration Whole Building: ASTM E779 at not more than [0.40 cfm/sf (2.00 L/s per sq. m)] [0.25 cfm/sf (1.25 L/s per sq. m)] [0.15 cfm/sf (0.75 L/s per sq. m)] at 1.57 lb/sq. ft. (75 Pa).

Coordinate test result values below with those called out in "Water Penetration Resistance, Assembly" Subparagraph in "Weather Barrier" Article in Part 2.

          - Water Penetration: ASTM E1105 at a minimum [uniform] [and] [cyclic] static-air-pressure differential of 0.67 times the static-air-pressure differential specified for laboratory testing in "Performance Requirements" Article, but not less than [2.86 lbf/sq. ft. (137 Pa)] [6.24 lbf/sq. ft. (300 Pa)] [10.0 lbf/sq. ft. (500 Pa)] [12.5 lbf/sq. ft. (600 Pa)]. No water penetration shall occur as defined in ASTM E1105.

Retain one of two subparagraphs below.

            - Perform a minimum of [two] [three] <Insert number> tests in areas as directed by Architect.

            - Perform tests in each test area as directed by Architect. Perform at least three tests, prior to [10, 30, and 70 percent completion] <Insert requirements>.

Retain "Test and Inspection Reports" Paragraph below if Contractor is responsible for engaging a qualified testing agency to perform tests and inspections; otherwise, delete paragraph.

        - Test and Inspection Reports: Prepare test and inspection reports.

      - CLEANING

        - Immediately remove release paper and scrap from work area and dispose of material in accordance with requirements of [Section 017300 "Execution."] [Section 017419 "Construction Waste Management and Disposal."] [Section 017300 "Execution" and Section 017419 "Construction Waste Management and Disposal."]

      - PROTECTION

        - Protect installed weather barrier from the following:

          - Damage from cladding, structure, or a component of the structure (for example, window, door, or wall system).

          - Contamination from building site chemicals, premature deterioration of building materials, or nonstandard use or application of products.

          - Foreign objects or agents, including the use of materials incompatible with weather barrier products.

          - UV exposure in excess of products' stated limits.

END OF SECTION 072500